r

# NALSAR University of Law

# Justice city, Shameerpet, Medchal District

# Hyderabad – 500 101.

# Phone: 040-23498110/104

# TENDER DOCUMENT

Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant at NALSAR University of Law, Shamirpet.

# Document Price: Rs.1,000/- only

# NALSAR University of Law Justice City Shameerpet Hyderabad

# 1. BRIEF DESCRIPTION OF PROPOSAL:

NALSAR University of Law, Shameerpet invites T e c h n i c a l a n d financial proposals from reputed registered contracting firms having income tax, GST registration for the work Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant  at NALSAR University of Law, Justice City, Shameerpet, Medchal District.

# Sealed Tenders are invited in a sealed cover clearly super scribing on the envelope.

# “Quotation for the work of ”Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant”

# NALSAR University of Law Justice City Shameerpet Hyderabad

# 2. COVERING LETTER:

# Letter comprising of quotation for “Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant” .

# To,

# The Registrar

NALSAR University of Law, Justice City, Shameerpet, Medchal District

Dear Sir,

1. With reference to your TENDER notice dated NALSAR / EnggDept /2018-19 dated: 25/04/2018, I have examined the TENDER document and understood its contents. I hereby submit my Bid for “Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant” at NALSAR University of Law, Justice City, Shameerpe,Medchal District.

- The Application is unconditional for the said Tender. This bid is valid for a period not less

than 90 days.

- It is acknowledged that the Authority will be relying on the information provided in the

tender and the documents accompanying such tender for qualification of the bidders for the above subject project, and we certify that all information provided in the tender and in Annexures is true and correct; nothing has been misrepresented and omitted which renders such information misleading; and all documents accompanying t h e b i d are true copies of their respective originals.

- This statement is made for the express purpose of the above mentioned subject.

- We shall make available to the Authority any additional information it may find necessary or require to supplement or authenticate the Qualification statement.

# NALSAR University of Law Justice City Shameerpet Hyderabad

6. We acknowledge the right of the Authority to reject our bid without assigning any reason or otherwise and hereby relinquish, to the fullest extent permitted by applicable law, our right to challenge the same on any account whatsoever.

- It is declared that:

(a) We have examined and have no reservations to the Tender document

| (b) W e have not directly or indirectly or | through an agent engaged or indulged in |
| --- | --- |
| any corrupt practice, fraudulent practice, | coercive practice, undesirable practice |

or restrictive practice in respect of any Bid or request for proposal issued by or any agreement entered into with the Authority or any other public sector enterprise or any government, Central or State.

- It is understood that the University may cancel the Bidding Process at any time without incurring any liability to the University and that you are neither bound to invite the applicants to Bid for the Project nor to accept any b i d that you may receive.

- It is certified that we have not been convicted by a Court of Law or indicted or adverse orders passed by a regulatory authority which could cast a doubt on our ability to undertake the Project or which relates to a grave offence that outrages the moral sense of the community.

- It is further certified that no investigation by any regulatory agency is pending against us.

- It is hereby affirmed that we are in compliance of/shall comply with the O&M requirements.

12. We hereby irrevocably r e l i n q u i s h any right or remedy which we may have at any stage at law or howsoever otherwise arising to challenge or question any decision taken by the Authority in connection with the selection of bidders, selection of the Tenderer, or in connection with the selection/Bidding Process itself, in respect of the above mentioned Project and the terms and implementation thereof.

- We agree to undertake to abide by all the terms and conditions of the TENDER document.

  - We agree to undertake to be liable for all the obligations of the Tenderer under the

agreement. In witness thereof, we submit this application under and in accordance with the terms of the TENDER document.

# Yours faithfully

(Signature, name and designation of the Authorized Signatory)

# Place: Name and seal of the Bidder/Lead Member

# NALSAR University of Law Justice City Shameerpet Hyderabad

# 3. PARTICULARS OF TENDER:

| 1. | TENDER No. | : | NALSAR/EnggDept /2018-19. |
| --- | --- | --- | --- |
| 2. Particulars of the work |  | : | Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant. |
| 3. Period of work |  | : | 20 days from the award of Work Order |
| 4. | Cost of TENDER | : | Rs. 1000/- in the form of Demand Draft in favour of Registrar, |
|  | document |  | NALSAR University of Law, payable at Hyderabad |
| 5. | Last date and time of |  |  |
|  | submission of TENDER | : | 7th May 2018, 03.00PM |
|  | (by hand/courier/ post) |  |  |

6. Amount of Earnest money/Bid security deposited for work

- Rs. 10,000/- (in the form of Demand Draft in favour of the Registrar, NALSAR University of Law, payable at Hyderabad)

- Date and time of opening of TENDER

  - Place of opening of TENDER

- Name of firm / company/individual to whom TENDER document is issued.

- NALSAR University of Law, Justice City, Shameerpet, Medchal District

: Meeting Hall, Admin Building, NALSAR University of Law

(Signature of Tenderer)

with seal

# NALSAR University of Law Justice City Shameerpet Hyderabad

# 4. GENERAL PARTICULARS OF TENDERER:

| 1- | Name of firm: |
| --- | --- |
| 2- | Communication address: |
| 3- | Telephone, Telex, Fax No: |
| 5- | E-mail: |
| 6- | Web site: |
| 7- | Name and designation of the representative of the Tenderer to whom all references/ |
|  | Communications shall be made. |
| 8- | Amount of earnest money/bid security deposited with instrument no./bank and date. |
|  | Name and address of the Authorizing Company to Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant.. (Please attach authorization certificate). |

(Signature of Tenderer)

with seal

# NALSAR University of Law Justice City Shameerpet Hyderabad

# 5. EXPERIENCE:

(Details of Each Project)(If it is required attached separate sheets)

# Item

- Title of the project

- Location

- No. of works/projects completed

- Entity/Agency with which project has been executed

- Date of commencement of the project

- Date of completion

- Cost of the Project

- Scope of Work

# Instructions:

1.  Tenderers are expected to provide information with respect to Eligible/Qualified projects.

- Information provided in this section is intended to serve as back-up f o r information provided in the TENDER.

- An authentic experience certificate should be annexed with respect to each eligible/qualified Project from the Agency for which the project is executed.

- Provide the estimated capital cost of each Eligible/Qualified Project.

(Signature of Tenderer)

# With Seal

*Note – please use one page each for each project

# NALSAR University of Law Justice City Shameerpet Hyderabad

6. SUBMISSION OF TENDER

- SEALING AND MARKING OF TENDER:

  - The TENDER must be complete in all respects and should contain requisite certificate, drawings, informative literature etc. as required in the specification.

- Tender Document can be downloaded from NALSAR website (www.nalsar.ac.in).

6.1.3 Tender submission shall be in a sealed cover superscribing on the envelope, Quotation for “Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant”  at NALSAR University of Law, Justice City, Shameerpet, Medchal District

# The bid shall include:

  - Forwarding letter by the Tenderer

  - All required documents

- Cost of tender by Demand Draft, towards processing charges (non-refundable)

- EMD Rs.10,000/- Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant of works for NALSAR University of Law, Justice City, Shameerpet, Medchal District in the form Bank Demand Draft in favour of The Registrar, NALSAR University of Law, from a Nationalized Bank.

- TENDER should be addressed to:-

|  |  | The Registrar |  |
| --- | --- | --- | --- |
|  |  | NALSAR University of Law, Justice City, Shameerpet, Medchal District |  |
|  | The TENDER should be submitted at the office of the Registrar, NALSAR University of Law on 7th May 2018 before 3:00 PM |  |  |
| b. | Tenders may be received through Post /courier/by h an d (t o b e d r o p p e d i n t o t h e |  |  |
|  | T e n d e r B o x k e p t a t NALSAR, Shameerpet., NALSAR, Shameerpet will not be |  |  |
|  | responsible for any delay or misplace in postal receipt. |  |  |

- EXPENSES OF AGREEMENT: All the expenses of completing the agreement including cost ofstamp paper or any other kind of expenditure incurred in the process of TENDER submission till fin al compliance shall be borne by the Tenderer.

# NALSAR University of Law Justice City Shameerpet Hyderabad

- DEADLINE FOR SUBMISSION OF BIDS:

TENDER must be received by the Registrar NALSAR University of Law, Shameerpet at the date, time and address specified in the TENDER notice/TENDER documents.

- LATE BIDS:

Any TENDER received after the deadline for submission of TENDER prescribed by the Registrar NALSAR University of Law, Shameerpet shall be rejected and/or returned unopened to the Tenderer.

# NOTE:-

- Please submit tender in a  sealed envelope, indicating Quotation for “Letter comprising of Tender for”Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant” at NALSAR University of Law, Justice City, Shameerpet, Medchal District”.

- The University will contact only bidders meeting the requirements including the rates.

- The payment will be made after successful on-site installation of ordered items.

- NALSAR, Shameerpet reserves the right to split the order among two or more vendors, item-wise or by quantity among multiple bidders, based on its assessment.

  - The price quoted will be applicable to the specifications mentioned in this quotation notice.

  - The bidders may, specifically mention if any higher specifications are offered.

  - The selected vendors will be required to supply the items within the time mentioned in the work order.

  - Please indicate whether you will be able to supply the item within time specified after receiving the order.

- Please specify the minimum period for completion of the work if you are not able to supply within the s aid period. Early delivery will be a factor for consideration in deciding the successful

bidder.

- A penalty of 0.5% of the total order value will be imposed per week for late completion of work

- The bid should be accompanied by an earnest money deposit (EMD) of Rs.10,000/- and to be attached in the shape of Demand Draft only drawn in favor of The Registrar, NALSAR University of Law, payable at Hyderabad.

# NALSAR University of Law Justice City Shameerpet Hyderabad

- No advance payment will be made; any offer linked with advance payment is likely to be ignored.

- After the order, if you fail to complete the work your EMD will be forfeited and you will be blacklisted from participating in any future bid/tender.

- Only Original fabricators or their Authorized Partners of the Product can participate in the bid.

- Price offered will be for NALSAR and delivery will be made at  : NALSAR University of Law

“Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant” Justice City, Shameerpet, Medchal District – 500 101

- The decision of acceptance of tender will lie with the competent authority of NALSAR, who does not bind himself to accept the lowest quotation and who reserves the right to himself to reject or partially accept any or all quotations received, without assigning any reason.

19. Please provide the list of similar work in hand, if any.

(Signature of Tenderer)

with seal

# NALSAR University of Law Justice City Shameerpet Hyderabad

- TENDER OPENING

  - OPENING OF TENDER:

The procedure of opening of the TENDER shall be as under:

Tenders shall be opened in the presence of designated Authority and Tenderers who wish to be present there. The date of financial bid opening will be informed to the shortlisted bidders subsequently.

| CLARIFICATION OF TENDER: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 7.2.1 To | assist | in | the | examination, | evaluation and comparison of TENDER, NAL SAR |  |
| University of |  | L a w | may at its discretion ask the Tenderer for a clarification on the TENDER |  |  |  |
| which is | submitted by |  | him. The request for clarification and the |  |  | response shall be in writing |
| within the specified time. No additional information or documents |  |  |  |  |  | other than the one asked for |
| will be accepted at this stage. |  |  |  |  |  |  |
| 7.2.2 The University will |  |  |  | be at liberty | to involve any expert or | consultant in evaluating the |

bid for completing the entire bid process.

(Signature of Tenderer)

# With seal

# NALSAR University of Law Justice City Shameerpet Hyderabad

8. AWARD OF CONTRACT

The Tenderer should pass in all items of “Eligibility Criteria”. Eligible tenderer o r t e n d e r e r s q u o t i n g t h e l o w e s t o f f e r p r i c e shall be awarded the contract.

- NALSAR University of Law, Shameerpet reserves the right of negotiation with eligible Tenderer before the finalization of the TENDER

| 8.2 | NALSAR University of Law, Shameerpet reserves the right at the time of award of |
| --- | --- |
|  | contract to increase or decrease the numbers of locations/quantities without any change |
|  | in terms and conditions. |

- NALSAR University of Law, Shameerpet reserves the right to accept any bid and to

reject any or all bids or accept any TENDER in total or in parts without assigning any reason thereof.

- NOTIFICATION OF AWARD

Prior to the expiration of the period of TENDER validity, t h e University will inform the Tenderer by registered letter or by phone or fax or by e-mail about the selection of the bid and the award of the work.

| 8.5 EXECUTION PERIOD |  |  |  |
| --- | --- | --- | --- |
| The work shall be completed in all | respect within | 20 days | from the date of award of work. |
| In case the project cannot be | completed in | Scheduled tme, then please mention the |  |

Minimum time required to complete the project of”Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant” at NALSAR University of Law. The ability to complete the work within the stipulated time will be a consideration for selecting the winning bid.

(Signature of Tenderer)

# With seal

# NALSAR University of Law Justice City Shameerpet Hyderabad

Technical Specifications

Name of work: Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant at NALSAR

University of Law, Shameerpet.

1.  INTRODUCTION

The proposed Reverse Osmosis System has been designed to produce permeate - 5000 LPH from Raw Water with characteristics mentioned in further sections below.

The proposed Reverse Osmosis System consists of following constituents:

Raw Water tank (Client Scope)  Filter Feed Pump Dual Media FilterActivated Carbon Filter Antiscalant Dosing System  Micron Cartridge Filter  High Pressure Pump  RO Block UV System Treated Water Tank (Client scope)

The Reverse Osmosis system works on the Principle of the natural phenomenon of OSMOSIS PROCESS. Since OSMOSIS PROCESS is reversed by external pressure the process is termed as REVERSE OSMOSIS. Reverse Osmosis is a water purification process in which water is forced by pressure through a semi-permeable membrane.

2.  DESIGN BASIS & TREATED WATER QUALITY

RAW WATER ANALYSIS: (Assumed)

| Sl. |  |  |  |
| --- | --- | --- | --- |
| No. | PARAMETER | UNIT | RESULT |
|  |  | S |  |
| 1. | Odour | - | Agreeable |
| 2. | Taste | - | Agreeable |
| 3. | Turbidity | NTU | 0.2 |
| 4. | pH value | - | 7.4 |
| 5. | Total Dissolved Solids | mg/l | 656 |
| 6. | Total Hardness as CaCO3 | mg/l | 284 |
| 7. | Calcium as Ca++ | mg/l | 44 |
| 8. | Magnesium as Mg++ | mg/l | 06 |
| 9. | Total Alkalinity as CaCO3 | mg/l | 64 |
| 10. | Chloride as Cl- | mg/l | 52 |
| 11. | Total Iron as Fe | mg/l | 0.06 |
| 12. | Nitrate as NO3- | mg/l | 06 |
| 13. | Sulphate as SO4- | mg/l | 15 |
| 14. | Fluoride as F- | mg/l | 0.42 |

Design Basis Reverse Osmosis system

| Feed flow rate | : | 6.6 m3/hr. |
| --- | --- | --- |
| Permeate flow rate | : | 4 m3/hr. |
| Reject Line | : | 2.6 m3/hr. |
| Blend Line | : | 100 lit |
| System Recovery | : | 60 % |
| Operation | : | Semi –Automatic |
| Source | : | Borewell |
| End Application | : | Drinking |

Limiting Conditions for RO Feed Water

| Temperature | : | Max. 40°C |
| --- | --- | --- |
| Turbidity | : | < 2 NTU |
| Iron | : | < 0.3 ppm |
| Fluoride | : | < 1 ppm |
| SDI | : | < 3 |
| Free Chlorine | : | Nil |
| Oil & Grease | : | Nil |

Treated water Quality at the Outlet of RO System:

| Sr. No. | Parameters | Value | Unit |
| --- | --- | --- | --- |
| 1 | PH | 6.5 – 7.5 |  |
| 2 | Odour | Odorless |  |
| 3 | Color | Colorless |  |
| 4 | TDS | 100-150 | ppm |

The above said quality shall be achieved provided:

- The feed quality is same as per design values provided above.

- In case of change in feed quality or source, end quality may have variation or changes.

- The operation of system is strictly done as per The manufacturer’s instructions. Operation Manual, guidelines and instructions.

- All log sheets/daily reports are sent to us for monitoring and suggest suitable actions for better and smooth operation of the system each month.

- Pure chemicals (if any), original spares and consumable specified by us only are used in system.

- Parameters not shown in raw water analysis are assumed as zero.

- Any abnormal behavior in system shall be notified to our service team within 24 hrs.

3.  PROCESS DESCRIPTION

Dual Media Filter (DMF):

The raw water will be passed through Dual Media filter for removal of suspended solids. The media provided for the same is sand and anthracite. The filter will be backwashed by indication of increase pressure drop and / once per day.

Activated Carbon Filter (ACF):

Water from pressure sand filter is passed through the activated carbon filter where all the color and odor get removed.

Antiscalant Dosing System :

The anti-scalant chemical is added online to protect the membrane from scaling/fouling.

Micron cartridge Filter:

The raw water is passed through Micron Cartridge Filter. The pore size of cartridges is 5 µm.

RO System:

Reverse Osmosis (RO) is the tightest possible membrane process in liquid/liquid separation. Water is in principle the only material passing through the membrane; essentially all dissolved and suspended material is rejected. Osmosis separates impurities from water by passing it through a semi-permeable membrane. The semi-permeable membrane allows only very small atoms and groups of atoms (such as water molecules, small organic molecules and gases) to pass through it.

Advanced reverse osmosis technology uses “cross flow” that allows a partially permeable membrane to clean itself continually. As some of the fluid passes through the membrane, the rest continues downstream, sweeping the rejected species away from it. The process requires a pump to push the fluid through the membrane. The higher the pressure, the larger the driving forces.

As concentration of the fluid being rejected increases, so does the driving force? Reverse osmosis is used to reject bacteria, salts, sugars, proteins, particles, dyes, and other constituents. Separation of ions with reverse osmosis is aided by charged particles. This means that dissolved ions that carry a charge, such as salts, are more likely to be rejected by the membrane. The larger the charge and the particle; the more likely it will be rejected.

UV system:

Ultraviolet energy causes permanent inactivation of micro-organisms by disturbing DNA so that they are no longer able to maintain metabolism or reproduce. All bacteria, spores, viruses and protozoa are permanently inactivated by UV.

4.  SCHEMATIC DIAGRAM

5.  SCOPE OF SUPPLY WITH TECHNICAL SPECIFICATIONS

|  |  | RO System Capacity (LPH) |  | 4000 |
| --- | --- | --- | --- | --- |
|  |  |  |  | Client Scope (Above |
| 1. |  | Raw Water Tank |  | Ground) |
| 2. |  | Filter Feed Pump |  | Flooded Suction |
|  |  | Quantity |  | 1 No. |
|  |  | Type |  | Horizontal Monoblock |
|  |  | Flow |  | 6600 LPH |
|  |  | Head |  | 30 mwc |
|  |  | MOC |  | SS 304 |
|  |  | Electric Supply |  | 3 Phase, 415 V/50 Hz |
| 3. |  | Dual Media Filter |  |  |
|  |  | Quantity |  | 1 No. |
|  |  | Operating Capacity |  | 6600 LPH |
|  |  | Size |  | 30” x 72” |
|  |  | MOC of Vessel |  | FRP |
|  |  | Media |  | Anthracite + Support Bed. |
|  |  | Type of valve |  | Manual Multiport (Side |
|  |  |  |  | Mounted) |
|  |  | Frontal Piping |  | UPVC Sch. 40 |
| 4. |  | Activated Carbon Filter |  |  |
|  |  | Quantity |  | 1 No. |
|  |  | Operating Capacity |  | 6600 LPH |
|  |  | Size |  | 30” x 72” |
|  |  | MOC of Vessel |  | FRP |
|  |  | Media |  | Activated Carbon + Support |
|  |  |  |  | Bed. |
|  |  | Type of valve |  | Manual Multiport (Side |
|  |  |  |  | Mounted) |
|  |  | Frontal Piping |  | UPVC Sch. 40 |
| 5. |  | Antiscalant Dosing System |  |  |
|  |  | Quantity |  | 1 No. |
|  |  | Type |  | Electronic Diaphragm |

|  | Capacity Of Dosing Pump |  | 0-3 LPH |
| --- | --- | --- | --- |
|  | MOC Of Pump |  | PP |
|  | Operating Pressure |  | 2.5 kg/cm2 |
|  | Dosing Tank |  |  |
|  | Quantity |  | 1 No. |
|  | MOC Of Tank |  | HDPE |
|  | Capacity Of Dosing Tanks |  | 100 Lit. |
| 6. | Micron Cartridge Filter |  |  |
|  | Quantity |  | 1 No. |
|  | Operating Capacity |  | 6600 LPH |
|  | MOC of Housing |  | UPVC |
|  | MOC Of Cartridge |  | PP |
|  | Micron Rating |  | 5 Micron |
| 7. | High Pressure Pump |  |  |
|  | Quantity |  | 1 No. |
|  | Capacity |  | 8300 LPH |
|  | Head |  | 140 mwc |
|  | Type |  | Vertical Centrifugal |
|  |  |  | Multistage |
|  | MOC |  | SS 304 |
|  | Electric Supply |  | 3 Phase/415V/50 Hz |
| 8. | Pressure Vessel |  |  |
|  | Quantity |  | 1 Nos. |
|  | MOC |  | FRP |
|  | Diameter |  | 8” |
|  | Model |  | 3 Element Long |
| 9. | Membranes |  |  |
|  | Quantity |  | 4Nos. |
|  | Type |  | TFC Polyamide |
|  | Size |  | 8” |
| 10. | Instrumentation |  |  |
|  | Pressure gauges |  |  |
|  | Range |  | 0-7 kg/cm2 |

|  |  | Quantity |  |  | 1 set |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Range |  |  | 0-21 kg/cm2 |  |
|  |  | Quantity |  |  | 02 Nos. |  |
|  |  | Location |  |  | HPP Discharge, RO Reject |  |
|  |  | Rotameter |  |  |  |  |
|  |  | Quantity |  |  | 04 Nos. |  |
|  |  | Location |  |  | RO Feed, Permeate & |  |
|  |  |  |  |  | Reject, Blend Line |  |
|  |  | Pressure switches |  |  |  |  |
|  |  | Low Pressure |  |  |  |  |
|  |  | Quantity |  |  | 01 No. |  |
|  |  | Range |  |  | 0 – 5 kg/cm2 |  |
|  |  | Location |  |  | HPP Suction |  |
|  |  | High Pressure |  |  |  |  |
|  |  | Quantity |  |  | 01 No. |  |
|  |  | Range |  |  | 5 – 25 kg/cm2 |  |
|  |  | Location |  |  | HPP Discharge |  |
|  |  | Conductivity Meter(Inbuilt in panel) |  |  |  |  |
|  |  | Quantity |  |  | 01 No. |  |
|  |  | Type |  |  | Online |  |
|  |  | Range |  |  | 0 – 300 µSiemens/cm |  |
|  |  | Location |  |  | RO Permeate Line |  |
|  |  | Level Switch |  |  |  |  |
|  |  | Quantity |  |  | 02 Nos. |  |
|  |  | Location |  |  | Raw Water Tank & Product |  |
|  |  |  |  |  | Water Tank |  |
|  |  | Auto Flushing System_ Reject Line |  |  |  |  |
|  |  | Quantity |  |  | 01 No. |  |
|  |  | Type |  |  | Solenoid Valve |  |
|  |  | MOC |  |  | SS 304 |  |
| 11. |  | Electrical Control Panel |  |  |  |  |
|  |  | Quantity |  |  | 01 No. |  |
|  |  | Type |  |  | Microprocessor Based |  |
|  |  | Cabling |  |  | 1 Set |  |
| 12. |  | ICPW |  |  |  |  |
|  |  | Quantity |  |  | 01 Lot. |  |
|  |  | MOC |  |  |  |  |
|  |  | Low Pressure / High Pressure |  |  | UPVC Sch. 40 |  |
|  |  |  |  |  | Suction flange of feed pump to inlet flange of treated water tank (Max distance 3m) |  |
| 13. |  | Product water Tank (client scope.) |  |  |  |  |
|  |  | Quantitiy |  |  | 1 No. |  |
| 6. TERMINATIONS POINTS / BATTERY LIMITS SCHEDULE OF BATTERY LIMITS / TERMINATION POINTS |  |  |  |  |  |  |
| Raw Water |  |  | At the inlet flange of Filter Feed Pump (Max. 3 m away) |  |  |  |  |
| Treated Water |  |  | At the outlet flange of UV system. (Max. 3 m away) |  |  |  |  |
| Electricity |  |  | Control Panel for RO Unit by Contractor & incomer cabling to our panel is |  |  |  |  |
|  |  |  | to be provided by Client. |  |  |  |  |
| Drain |  |  | Drain at outlet of DMF/ACF/RO on Skid |  |  |  |  |
| Piping |  |  | ICPW is as per the termination points above |  |  |  |  |
| Raw water Tank and Treated water tank are assumed at distance of 3m from RO plant. - SCOPE OF WORK - Design Engineering - Design & engineering. - Process design. - P&ID. - Equipment layout with foundation details - Supervision of Erection & Commissioning - MAKE LIST |  |  |  |  |  |  |
| Sr. No.; Items; Make. 1.; Horizontal Centrifugal Pumps-CI; CRI/KBL / Equ.. 2.; Vertical Centrifugal Multistage Pumps; CNP/CRI / Equ.. 3.; FRP Vessels; Aventura / Equ.. 4.; Pressure Gauges; Baumer / Equ.. 5.; Pressure Switch; Aster / Equ.. 6.; Rota meter; Aster / Equ.. 7.; Dosing Pumps; E dose / Equ.. 8.; Tanks; Reno / Equ.. 9.; UV System; Alpha UV / Equ.. 10.; RO membranes; GE/LG/ Equ.. 11.; Pressure Tubes; UKL / Equivalent. 12.; Cartridge Filter; Process Engineer / Equ.. 13.; Multiport Valve; Initiative / Equ.. 14.; Conductivity Meter; Aster / Equ.. 15.; Level Switch; Aster / Equ.. 16.; Solenoid Valve; Aira / Equ.. 17.; UPVC; Astral/Equivalent. 18.; Valves & Fittings; EFL Approved Vendor. 19.; Control Panel; EFL Approved Vendor. 20.; Anthracite/Activated Carbon & Supporting pebbles; EFL Approved Vendor. |  |
| - SCHEDULE OF EXCLUSIONS - Raw water Tank and Product water Tank - Approach to site & storage for equipments during erection work. - All piping and plumping beyond termination points. - Continuous power supply with grounding (earth connection) to Contractor System panel. - Power / Lighting / Water at the site of work on 24 hrs basis during plant installation. - Lighting & ventilation in Plant area. - Backwash water/ Rinsing Water disposal pipeline beyond Plant area and its disposal. - Laboratory Equipment & room. - NOC from pollution control board at all levels and all other Statutory Clearance and sanctions required for the implementation of the project. - All civil & structural designing and construction works (RCC Works) including waterproofing, plaster, snowcap, Grouting, Structure duly tested for leak proofing, Equipment room flooring etc. - Lubricants, oils, grease including the first charge should be supplied by client. - Chemicals and consumables at the time of commissioning and operation. - Final Painting. - Cable Trays, Conduits, tray support beyond termination points etc. - Any other services/supply not clearly mentioned in our scope of supply. - All the erection/ piping/ structural/ electrical works to be carried out at site. - Unloading/ shifting of supplied material. - Third Party Inspection. (Write can provide Yes or No) Sl. No; Description of the item; Can Provide (Yes/ No). 1; Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant – 1 Unit. |  |

# Note:-

- Bidders are advised to visit the premises of the University before submitting the bid to have an idea about the work.

- Finalization of design, fabrication and fixing partition will be at sole discretion of the competent authority of

the University. In case of any doubt; the decision of competent authority will be final and binding to the bidders.

# NALSAR University of Law Justice City Shameerpet Hyderabad

Schedule for 4000 LPH Capacity Reverse Osmosis Plant.

Name of Work: Supply & Installation of 4000 LPH Capacity Reverse Osmosis Plant at

NALSAR University of Law, shameerpet.

| Serial Number | Equipment | Description | Pieces | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Reverse Osmosis Plant | 4000 LPH Capacity Reverse Osmosis Plant | One Unit complete |  |  |
| Total Amount |  |  |  |  |  |

(Signature of Tenderer)

with seal

NALSAR University of Law Justice City Shameerpet Hyderabad