NALSAR University of Law

Justice city, Shameerpet, R.R.District

Hyderabad – 500 101.

Phone: 040-23498110

TENDER DOCUMENT

Civil Works for Lift Shaft

at

Academic Block

Document Price: Rs.500/- only

NALSAR University of Law Justice City Shameerpet Hyderabad

1. BRIEF DESCRIPTION OF PROPOSAL:

NALSAR University of Law, Shameerpet invites T e c h n i c a l a n d financial proposals from reputed registered contracting firms having income tax, sales tax registration for the work of Providing Cement concrete flooring to Tennis Court at NALSAR University of Law, Justice City, Shameerpet, R.R.District.

Sealed  Tenders are invited in a sealed cover clearly super scribing on the envelope.

“Quotation for the work of “Civil Works for Lift Shaft at Academic Block.”

NALSAR University of Law Justice City Shameerpet Hyderabad

2. COVERING LETTER:

Letter comprising of quotation for “Civil Works for Lift Shaft at Academic Block”.

To,

The Registrar

NALSAR University of Law, Justice City, Shameerpet, R.R.District

Dear Sir,

1. With reference to your TENDER notice dated NALSAR / Engg Dept /04/2015-16 dated: 28.07.2015; I have examined the TENDER document and understood its contents. I hereby submit my Bid for Civil Works for Lift Shaft in Academic Block at NALSAR University of Law, Justice City, Shameerpet,  R.R.District.

- The Application is unconditional for the said Tender. This bid is valid for a period not less

than 90 days.

- It is acknowledged that the Authority will be relying on the information provided in the

tender and the documents accompanying such tender for qualification of the bidders for the above subject project, and we certify that all information provided in the tender and in Annexures is true and correct; nothing has been misrepresented and omitted which renders such information misleading; and all documents accompanying t h e b i d are true copies of their respective originals.

- This statement is made for the express purpose of the above mentioned subject.

- We shall make available to the Authority any additional information it may find necessary or require to supplement or authenticate the Qualification statement.

NALSAR University of Law Justice City Shameerpet Hyderabad

6. We acknowledge the right of the Authority to reject our bid without assigning any reason or otherwise and hereby relinquish, to the fullest extent permitted by applicable law, our right to challenge the same on any account whatsoever.

- It is declared that:

(a) We have examined and have no reservations to the Tender document

| (b) W e have not directly or indirectly or | through an agent engaged or indulged in |
| --- | --- |
| any corrupt practice, fraudulent practice, | coercive practice, undesirable practice |

or restrictive practice in respect of any Bid or request for proposal issued by or any agreement entered into with the Authority or any other public sector enterprise or any government, Central or State.

- It is understood that the University may cancel the Bidding Process at any time without incurring any liability to the University and that you are neither bound to invite the applicants to Bid for the Project nor to accept any b i d that you may receive.

- It is certified that we have not been convicted by a Court of Law or indicted or adverse orders passed by a regulatory authority which could cast a doubt on our ability to undertake the Project or which relates to a grave offence that outrages the moral sense of the community.

- It is further certified that no investigation by any regulatory agency is pending against us.

- It is hereby affirmed that we are in compliance of/shall comply with the O&M requirements.

12. We hereby irrevocably r e l i n q u i s h any right or remedy which we may have at any stage at law or howsoever otherwise arising to challenge or question any decision taken by the Authority in connection with the selection of bidders, selection of the Tenderer, or in connection with the selection/Bidding Process itself, in respect of the above mentioned Project and the terms and implementation thereof.

- We agree to undertake to abide by all the terms and conditions of the TENDER document.

  - We agree to undertake to be liable for all the obligations of the Tenderer under the

agreement. In witness thereof, we submit this application under and in accordance with the terms of the TENDER document.

Yours faithfully

(Signature, name and designation of the Authorized Signatory)

Place: Name and seal of the Bidder/Lead Member

NALSAR University of Law Justice City Shameerpet Hyderabad

3. PARTICULARS OF TENDER:

| 1. | TENDER No. | : | NALSAR/Engg Dept/ 04 /2015-16. |
| --- | --- | --- | --- |
| 2. Particulars of the work |  | : | Civil Works for Lift Shaft at Academic Block. |
| 3. Period of work |  | : | 20 days from the award of work |
| 4. | Cost of TENDER | : | Rs. 500/- in the form of Demand Draft in favour of The Registrar, |
|  | document |  | NALSAR University of Law, payable at Hyderabad |
| 5. | Last date and time of |  |  |
|  | submission of TENDER | : | 04.08.2015 (up to 3.00 P.M) |
|  | (by hand/courier/ |  |  |

post)

6. Amount of Earnest money/Bid security deposited for work

- Rs. 4,000/- (in the form of Demand Draft in favour of the Registrar, NALSAR University of Law, payable at Hyderabad)

- Date and time of opening of TENDER

  - Place of opening of TENDER

- Name of firm / company/individual to whom TENDER document is issued.

- 04.08.2015  (3.30 P.M)

- NALSAR University of Law, Justice City, Shameerpet, R.R.District

: ------------------------------------------------------------------------

(Signature of Tenderer)

with seal

NALSAR University of Law Justice City Shameerpet Hyderabad

4. GENERAL PARTICULARS OF TENDERER:

| 1- | Name of firm: |
| --- | --- |
| 2- | Communication address: |
| 3- | Telephone, Telex, Fax No: |
| 5- | E-mail: |
| 6- | Web site: |
| 7- | Name and designation of the representative of the Tenderer to whom all references/ |
|  | Communications shall be made. |
| 8- | Amount of earnest money/bid security deposited with instrument no./bank and date. |
|  | 9-; Name and address of the Authorizing Company to Civil Works for Lift Shaft at Academic. Block. (Please attach authorization certificate). |

(Signature of Tenderer)

with seal

NALSAR University of Law Justice City Shameerpet Hyderabad

5. EXPERIENCE:

(Details of Each Project) (If it is required attached separate sheets)

Item

- Title of the project

- Location

- No. of works/projects completed

- Entity/Agency with which project has been executed

- Date of commencement of the project

- Date of completion

- Cost of the Project

- Scope of Work

Instructions:

1.  Tenderers are expected to provide information with respect to Eligible/Qualified projects.

- Information provided in this section is intended to serve as back-up f o r information provided in the TENDER.

- An authentic experience certificate should be annexed with respect to each eligible/qualified Project from the Agency for which the project is executed.

- Provide the estimated capital cost of each Eligible/Qualified Project.

(Signature of Tenderer)

With Seal

*Note – please use one page each for each project

NALSAR University of Law Justice City Shameerpet Hyderabad

6. SUBMISSION OF TENDER

- SEALING AND MARKING OF TENDER:

  - The TENDER must be complete in all respects and should contain requisite certificate, drawings, informative literature etc. as required in the specification.

- Tender Document can be downloaded from NALSAR website (www.nalsar.ac.in).

6.1.3 Tender submission shall be in a sealed cover superscribing on the envelope, Quotation for

“Civil Works for Lift Shaft at Academic Block” at NALSAR University of Law, Justice City,

Shameerpet, R.R.District

The bid shall include:

  - Forwarding letter by the Tenderer

  - All required documents

- Cost of tender by Demand Draft, towards processing charges (non-refundable)

- EMD Rs.4,000/- Civil Works for Lift Shaft at Academic Block of works for NALSAR University of Law, Justice City, Shameerpet, R.R.District in the form Bank Demand Draft in favour of The Registrar, NALSAR University of Law, from a Nationalized Bank.

- TENDER should be addressed to:-

|  |  | The Registrar |  |  |
| --- | --- | --- | --- | --- |
|  |  | NALSAR University of Law, Justice City, Shameerpet, R.R.District |  |  |
| a. | The TENDER should be submitted at the office of the Registrar, NALSAR University of |  |  |  |
|  | Law |  | at 3.00 P.M. |  |
|  |  | on 04.08.2015 |  |  |
| b. | Tenders may be received through Post /courier/by h an d (t o b e d r o p p e d i n t o t h e |  |  |  |
|  | T e n d e r B o x k e p t a t NALSAR, Shameerpet., NALSAR, Shameerpet will not be |  |  |  |
|  | responsible for any delay or misplace in postal receipt. |  |  |  |

- EXPENSES OF AGREEMENT: All the expenses of completing the agreement including cost of stamp paper or any other kind of expenditure incurred in the process of TENDER submission till fin al comp lian ce shall be borne by the Tenderer.

NALSAR University of Law Justice City Shameerpet Hyderabad

- DEADLINE FOR SUBMISSION OF BIDS:

TENDER must be received by the NALSAR University of Law, Shameerpet at the date, time and address specified in the TENDER notice/TENDER documents.

- LATE BIDS:

Any TENDER received after the deadline for submission of TENDER prescribed by the NALSAR University of Law, Shameerpet shall be rejected and/or returned unopened to the Tenderer.

NOTE:-

- Please submit tender in a   sealed envelope, indicating Quotation for “Letter comprising of Tender for Civil Works for Lift Shaft at Academic Block at NALSAR University of Law, Justice City, Shameerpet, R.R.District”.

- The University will contact only bidders meeting the requirements including the rates.

- The payment will be made after successful on-site installation of ordered items.

- NALSAR, Shameerpet reserves the right to split the order among two or more vendors, item-wise or by quantity among multiple bidders, based on its assessment.

  - The price quoted will be applicable to the specifications mentioned in this quotation notice.

  - The bidders may, specifically mention if any higher specifications are offered.

  - The selected vendors will be required to supply the items within the time mentioned in the work order.

  - Please indicate whether you will be able to supply the item within time specified after receiving the order.

- Please specify the minimum period for completion of the work if you are not able to supply within the s aid period. Early delivery will be a factor for consideration in deciding the successful

bidder.

- A penalty of 0.5% of the total order value will be imposed per week for late completion of work

- The bid should be accompanied by an earnest money deposit (EMD) of Rs.4,000/- and to be attached in the shape of Demand Draft only drawn in favor of The Registrar, NALSAR University of Law, payable at Hyderabad.

NALSAR University of Law Justice City Shameerpet Hyderabad

- No advance payment will be made; any offer linked with advance payment is likely to be ignored.

- After winning the order, if you fail to complete the work your EMD will be forfeited and you will be blacklisted from participating in any future bid/tender.

- Only Original fabricators or their Authorized Partners of the Product can participate in the bid.

17. Price offered will be for NALSAR and delivery will be made at  :

NALSAR University of Law

Justice City, Shameerpet,

R.R.District – 500 101

- The decision of acceptance of tender will lie with the competent authority of NALSAR, who does not bind himself to accept the lowest quotation and who reserves the right to himself to reject or partially accept any or all quotations received, without assigning any

reason.

19. Please provide the list of similar work in hand, if any.

(Signature of Tenderer)

with seal

NALSAR University of Law Justice City Shameerpet Hyderabad

- TENDER OPENING

  - OPENING OF TENDER:

The procedure of opening of the TENDER shall be as under:

Tenders shall be opened in the presence of designated Authority and Tenderers who wish to be present there. The date of financial bid opening will be informed to the shortlisted bidders subsequently.

| CLARIFICATION OF TENDER: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 7.2.1 To | assist | in | the | examination, | evaluation and comparison of TENDER, NAL SAR |  |
| Uni vers i ty of |  | L a w | may at its discretion ask the Tenderer for a clarification on the TENDER |  |  |  |
| which is | submitted by |  | him. The request for clarification and the |  |  | response shall be in writing |
| within the specified time. No additional information or documents |  |  |  |  |  | other than the one asked for |
| will be accepted at this stage. |  |  |  |  |  |  |
| 7.2.2 The University will |  |  |  | be at liberty | to involve any expert or | consultant in evaluating the |

bid for completing the entire bid process.

(Signature of Tenderer)

With seal

NALSAR University of Law Justice City Shameerpet Hyderabad

8. AWARD OF CONTRACT

The Tenderer should pass in all items of “Eligibility Criteria”. Eligible tenderer o r t e n d e r e r s q u o t i n g t h e l o w e s t o f f e r p r i c e shall be awarded the contract.

- NALSAR University of Law, Shameerpet reserves the right of negotiation with eligible Tenderer before the finalization of the TENDER

| 8.2 | NALSAR University of Law, Shameerpet reserves the right at the time of award of |
| --- | --- |
|  | contract to increase or decrease the numbers of locations/quantities without any change |
|  | in terms and conditions. |

- NALSAR University of Law, Shameerpet reserves the right to accept any bid and to

reject any or all bids or accept any TENDER in total or in parts without assigning any reason thereof.

- NOTIFICATION OF AWARD

Prior to the expiration of the period of TENDER validity, t h e University will inform the Tenderer by registered letter or by phone or fax or by e-mail about the selection of the bid and the award of the work.

| 8.5 EXECUTION PERIOD |  |  |  |
| --- | --- | --- | --- |
| The work shall be completed in all | respect within | 20 days | from the date of award of work. |
| In case the project cannot be | completed in | Scheduled tme, then please mention the |  |

minimum time required to complete the project of Civil works for Lift Shaft at Academic  Block. The ability to complete the work within the stipulated time will be a consideration for selecting the winning bid.

(Signature of Tenderer)

With seal

NALSAR University of Law Justice City Shameerpet Hyderabad

|  |  |  | Technical Specifications – |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name of the Work “Civil work for Lift Shaft at Academic Block” |  |  |  |  |  |  |
|  |  |  | (Write can provide Yes or No) |  |  |  |
|  | Sl. |  |  |  | Can Provide |  |
|  |  |  | Description of the Item |  | (Yes/ No) |  |
|  | No. |  |  |  |  |  |
|  | 1. |  | Civil works for Lift Shaft at Academic Block |  |  |  |

Note:-

- Bidders are advised to visit the premises of the University before submitting the bid to have an idea about the work.

- Finalization of design, fabrication and fixing partition will be at sole discretion of the competent authority of

the University. In case of any doubt; the decision of competent authority will be final and binding to the bidders.

NALSAR University of Law Justice City Shameerpet Hyderabad

Schedule for Civil works

Name of Work:-  Civil Works for Lift Shaft  in Academic Block at NALSAR University of Law Campus.

| Schedule of Lift |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project : NALSAR University of Law |  |  |  |  |  |
| Name of work: Civil works for lift provision in Existing Academic Block. |  |  |  |  |  |
| Sno | Item Detailed Specification Description | UNITS | QUANTITY | Rate | Amount |
| 1.0 | Earth work excavation for foundations (Mechanical Means) for buildings in ordinary soils and depositing on bank for all lifts and with an initial lead of 10m and up to 3m depth including all operational,incidental, labour charges such as shoring, sheeting, planking, strutting etc., and Overheads & Contractors profit complete for finished item of work including seigniorage excluding dewatering charges etc., as per SS 20 B(APSS 308) Ordinary Soil - Mechanical Means up to 3m depth | CUM | 14.850 |  |  |
| 2.0 | Plain Cement Concrete (1:4:8) (cement: fine aggregate: Coarse aggregate) for foundations and under flooring bed using coarse aggregate 40mm size hard , machine crushed granite from approved quarry including cost and conveyance of all materials like cement, sand, coarse aggregate, water etc. to site, including seigniorage charges, sales & other taxes on all materials and including all charges for machine mixing, laying concrete in foundations and under flooring bed, ramming in 15 cm layers finishing top surface to the required level curing etc., and Overheads & Contractors profit complete for finished item of work. (APSS No. 402) | CUM | 1.350 |  |  |
| 3.0 | Laying DPC upto 50 mm thick with plain cement concrete(1:2:4) prop nominal mix using 10 mm downgraded machine crushed HBG metal including c/c of all materials, cost of seignorage charges on all materials, using approved water proofing admixture conplast 421 IC of M/S FOSROC or equivalent at rate of 150 ml per one bag of cement, laying, labour etc. and other incidental works complete. | Cum | 0.110 |  |  |
| 4.0 | Supply and placing of the Design Mix Concrete M 25 grade corresponding to IS 456 with minimum cement content of 380kgs per 1 1cum of concrete using WEIGH BATCHER / MIXER with 20mm size graded machine crushed hard granite metal (coarse aggregate) ( consisting of nominal size metal 60% of 20mm , 15% of 13.20/12.50mm , 15% of 10mm and 10% of 6mm ) from approved quarry including cost and conveyance of all materials like cement, fine aggregate (sand) coarse aggregate, water etc., to site and including Seigniorage charges, sales & other taxes on all materials , centering using Steel scaffolding pipes , jack props , wallers , Foot plates , brackets , steel centering plates etc., including all operational, incidental and labour charges such as weigh batching, machine mixing, laying concrete, curing etc.,and Overheads & Contractors profit complete but excluding cost of steel and its fabrication charges for finished item of work (APSS NO:402&403) Tie Beams / Plinth Beams | Cum | 0.186 |  |  |
| 5.0 | Supply and placing of the Design Mix Concrete M 25 grade corresponding to IS 456 with minimum cement content of 380kgs per 1 1cum of concrete using WEIGH BATCHER / MIXER with 20mm size graded machine crushed hard granite metal (coarse aggregate) ( consisting of nominal size metal 60% of 20mm , 15% of 13.20/12.50mm , 15% of 10mm and 10% of 6mm ) from approved quarry including cost and conveyance of all materials like cement, fine aggregate (sand) coarse aggregate, water etc., to site and including Seigniorage charges, sales & other taxes on all materials , centering using Steel scaffolding pipes , jack props , wallers , Foot plates , brackets , steel centering plates etc., including all operational, incidental and labour charges such as weigh batching, machine mixing, laying concrete, curing etc.,and Overheads & Contractors profit complete but excluding cost of steel and its fabrication charges for finished item of work (APSS NO:402&403) un supported height up to 3.66 m LINTELS FLOOR -1 | Cum | 0.143 |  |  |
| 6.0 | Supply and placing of the Design Mix Concrete M 25 grade corresponding to IS 456 with minimum cement content of 380kgs per 1 1cum of concrete using WEIGH BATCHER / MIXER with 20mm size graded machine crushed hard granite metal (coarse aggregate) ( consisting of nominal size metal 60% of 20mm , 15% of 13.20/12.50mm , 15% of 10mm and 10% of 6mm ) from approved quarry including cost and conveyance of all materials like cement, fine aggregate (sand) coarse aggregate, water etc., to site and including Seigniorage charges, sales & other taxes on all materials , centering using Steel scaffolding pipes , jack props , wallers , Foot plates , brackets , steel centering plates etc., including all operational, incidental and labour charges such as weigh batching, machine mixing, laying concrete, curing etc.,and Overheads & Contractors profit complete but excluding cost of steel and its fabrication charges for finished item of work (APSS NO:402&403) un supported height up to 3.66 m LINTELS FLOOR -2 | Cum | 0.143 |  |  |
| 7.0 | CRS masonry of 2nd sort using hard broken granite stone in CM 1:8 prop. Including c/c of all materials, bond stones, wastages, all operational, incidental, labour charges for finished item of work in foundations and basement.(APSSno 609,611&612) | Cum | 5.084 |  |  |
| 8.0 | Brick masonry for panel walls 230mm thick in superstructure with CM (1:6) prop: (cement : sand) using second class bricks of size 23 x 11 x 7 cms from approved source having minimum crushing strength of 40 Kg/Sqcm. including cost and conveyance of all materials like cement, sand, bricks, water etc., to site, including seigniorage charges, sales & other taxes on all materials and such as labour charges, like mixing cement mortar, scaffolding charges, constructing masonry, lift charges, curing, etc.,and Overheads & Contractors profit complete for finished item of work. (APSS No. 501 & 504). FLOOR -1 | Cum | 1.108 |  |  |
| 8.1 | Brick masonry for panel walls 230mm thick in superstructure with CM (1:6) prop: (cement : sand) using second class bricks of size 23 x 11 x 7 cms from approved source having minimum crushing strength of 40 Kg/Sqcm. including cost and conveyance of all materials like cement, sand, bricks, water etc., to site, including seigniorage charges, sales & other taxes on all materials and such as labour charges, like mixing cement mortar, scaffolding charges, constructing masonry, lift charges, curing, etc.,and Overheads & Contractors profit complete for finished item of work. (APSS No. 501 & 504). FLOOR -2 | Cum | 1.108 |  |  |
| 9.0 | Plastering 20mm thick in two coats for internal walls with base coat of 16mm thick in CM(1:5) and top coat of 4mm thick in CM(1:4) with dubara sponge finishing including cost and conveyance of all materials like cement, sand, water etc., to site, and with 150mm wide Rabbit wire mesh for plastering at junctions providing 150mm wide 24G GI hexagonal mesh at junctions of walls and beams, column and walls, on service conduits etc., terminations, including seigniorage charges, sales & other taxes on all materials, and all operational, incidental charges on materials excluding cost of rabbit wire mesh and including cost of all labour charges for mixing mortar, finishing, scaffolding, lift charges, curing, including cutting grooves as directed by Engineer-in-charge etc., and Overheads & Contractors profit complete for finished item of work .(SS 901,903 & 904) lift pit | Sqm | 11.460 |  |  |
| 9.1 | Plastering 20mm thick in two coats for internal walls with base coat of 16mm thick in CM(1:5) and top coat of 4mm thick in CM(1:4) with dubara sponge finishing including cost and conveyance of all materials like cement, sand, water etc., to site, and with 150mm wide Rabbit wiremesh for plastering at junctions providing 150mm wide 24G GI hexagonal mesh at junctions of walls and beams, column and walls, on service conduits etc., terminations, including seigniorage charges, sales & other taxes on all materials, and all operational, incidental charges on materials excluding cost of rabbit wire mesh and including cost of all labour charges for mixing mortar, finishing, scaffolding, lift charges, curing, including cutting grooves as directed by Engineer-in-charge etc., and Overheads & Contractors profit complete for finished item of work .(SS 901,903 & 904) FLOOR -1 | Sqm | 10.849 |  |  |
| 10.0 | Plastering 20mm thick in two coats for internal walls with base coat of 16mm thick in CM(1:5) and top coat of 4mm thick in CM(1:4) with dubara sponge finishing including cost and conveyance of all materials like cement, sand, water etc., to site, and with 150mm wide Rabbit wiremesh for plastering at junctions providing 150mm wide 24G GI hexagonal mesh at junctions of walls and beams, column and walls, on service conduits etc., terminations, including seigniorage charges, sales & other taxes on all materials, and all operational, incidental charges on materials excluding cost of rabbit wire mesh and including cost of all labour charges for mixing mortar, finishing, scaffolding, lift charges, curing, including cutting grooves as directed by Engineer-in-charge etc., and Overheads & Contractors profit complete for finished item of work .(SS 901,903 & 904) FLOOR -2 | Sqm | 10.849 |  |  |
| 11.0 | Painting to new walls with 2 coats of plastic emulsion paint(Asian/Berger/ Nerolac/ Saicoat/Indocem) over a base coat of cement primer water based interior Gr-1 (Asian/Berger/Nerolac/ Saicoat/ Indocem) as approved by Engineer-In-Charge, making 3 coats in all to give an even shade after thoroughly brushing the surface to remove all dirt and remains of loose powdered materials, including cost and conveyance of all materials to work site and all operational, incidental, labour charges etc., and Overheads & Contractors profit complete for finished item of work as per APSS 911 for internal walls. for all floors | Sqm | 55.996 |  |  |
| 12.0 | Flooring with polished shahabad / Tandur stone slabs of 15mm to 18mm thick 0.457m x 0.457m or any other size as specified set over a base coat of CM (1:8) , 12mm thick over already laid CC bed / RCC roof slab including neat cement slurry of honey like consistency spread @ 3.3 Kgs per Sqm and jointed with neat cement to full depth including cost and conveyance of all materials like cement, sand, water, flooring stones etc. complete including seigniorage charges, sales & other taxes on all materials including all labour charges like dressing of flooring stones to the required size, mixing of cement mortar, laying, lift charges , cost of base coat etc.,and Overheads & Contractors profit complete for finished item of work. (APSS No.703 & 701) FLOOR -1 | Sqm | 3.600 |  |  |
| 13.0 | Providing Cladding to walls up to ceilling height Heigh Polished Granite stone slabs 15mm to 18mm thick, length equal to flooring stones set over base coat of CM(1:4) 12 mm thick with cement slurry of honey like consistency spread at the rate of 3.30 kgs per sqm and jointing with white cement paste mixed with pigment of matching shade to full depth, including cost of all materials like tiles, cement, sand and water etc., complete including seigniorage charges etc.,and Overheads & Contractors profit complete for finished item of work.(APSS No.701 &703) all floors | Sqm | 10.849 |  |  |
| 14.0 | Dismantling of roofs or walls ,cleaning away and carefully staking material useful for reuse.all floors | Cft | 2.452 |  |  |
| 15.0 | Supplying, fitting and placing HYSD (Fe 500/ tmt grade as per IS 1786-1985) bar reinforcement in foundation complete as per drawings and technical specifications for Bars below 36 mm dia including over laps and wastage, where they are not welded including cost and conveyance of bars from approved sources to site of work, binding wire, cover blocks and all incidental, operational, labour charges such as cutting, bending, placing in position, tying etc., and sales & other taxes, on cost of all materials complete for finished item of work |  |  |  |  |
|  | floor-1 | Mt | 0.010 |  |  |
|  | floor-2 | Mt | 0.010 |  |  |
| 16.0 | Disposal / Carting away surplus excavated earth / cut rock/ debris etc. outside owner's premises to 15KM lead as directed and instructed by engineer in-charge. Measurement shall be for volume as measured for excavation /backfill/ banking | Cft | 14.850 |  |  |
|  |  | TOTAL AMOUNT |  |  |  |
|  | (Rupees |  |  |  |  |

(Signature of Tenderer)

with seal

NALSAR University of Law Justice City Shameerpet Hyderabad

Schedule for Electrical Works

Name of Work:- Electrical Works for Lift Shaft  in Academic Block at NALSAR University of Law Campus.

| Sl. No | Description of work |  | Qty | Unit | Rate | Amount In Rs. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Supply and Laying of ISI 25mm outer dia heavy (2.20mm thickness) grade with IS:9537 part 3 regid PVC pipe concealed / surface on wall with all required PVC / Metallic Deep Boxes including masonary work and labour charges etc., complete.(Data No. ) |  | 50 | 1.00 |  | Mtrs |  |
|  | Makes: Sudhakar / Modi / Atul. |  |  |  |  |  |  |
| 2 | Wiring with run of 3 of 14/0.3mm (1.0 Sq.mm) FRLS / HFFR PVC insulated flexible ISI mark copper cable of Makes:Finolex / RR kabel / KEIin existing PVC conduit pipe including Supply and fixing of Jumbo Ceiling rose and 6A/10A ISI Mark 1way Modular switch of Makes:Legrand Arteor / MK Blenge / Schneider Zen celo with required modular box and cover frame in existing Concealed pipe wiring including cost and conveyance of all material and all labour charges etc., complete in R.B. or N.R.B for lift point wiring. |  | 2 | 1.00 |  | Pts |  |
| 3 | Supply and fixing of 6A/10A ISI Mark 3/2 pin Modular socket with 6A/10A 1way Modular switch of Makes:Legrand Arteor / MK Blenge / Schneider Zen celo with required Module box with cover frame on a Common switch board including cost and conveyance of all materials and all labour charges etc., complete in R.B. or N.R.B. |  | 2 | 1.00 |  | Nos |  |
| 4 | Wiring with run of 3 of 14/0.3mm (1.0 Sq.mm) FRLS / HFFR PVC insulated flexible ISI mark copper cable in existing Consealed conduit pipe wiring including supply and fixing of 6A/10A ISI Mark 3/2 pin Modular socket, 6A/10A 1way Modular switch, 3 Module box with required cover frame including cost and conveyance of all material and all labour charges etc., complete for seperate plug points in R.B. or N.R.B. |  | 2 | 1.00 |  | Nos |  |
| 5 | Supply and fixing of ISI mark 16A 3pin / 6A 3 Pin 1 way Modular combi socket, 16 Amps Modular switch, 3 Modular box with suitable cover frame and earth connections including cost and conveyance of all material and all labour charges etc., complete in N.R.B .(Data No. ) 12-13-14.1.5) |  | 1 | 1.00 |  | Nos |  |
| 6 | Supply and Run of 2 of 36/0.3mm (2.50 Sq.mm) with Run 1 of 14/0.3mm(1.0Sqmm) FRLS / HFFR PVC insulated flexible ISI mark copper cable in existing pipe for run of mains inlcuding all labour charges etc., complete.(Data No. )12-13-20.1.11 |  | 20 | 1.00 |  | Mtr |  |
|  | Copper Cable Makes: Finolex / RR kabel |  |  |  |  |  |  |
| 7 | Supply and Run of 4 of 84/0.3mm (6.0 Sq.mm) with Run 1 of 36/0.3mm(2.5 Sqmm) FRLS / HFFR PVC insulated flexible ISI mark copper cable in existing pipe for run of mains inlcuding all labour charges etc., complete for mains to LIGHTING DB'S.(Data No. )12-13-20.1.15 |  | 15 | 1.00 |  | Mtr |  |
|  | Copper Cable Makes: Finolex / RR kabel |  |  |  |  |  |  |
| 8 | Supply and Run of No.10 SWG G.I wire including cost of all accessories and labour charges etc., complete. (0.067Kgs/1Mtr)(Data No. )12-13-38.1.2 |  | 30 | 1.00 |  | Mtr |  |
|  | Copper Cable Makes: Finolex / RR kabel |  |  |  |  |  |  |
| 9 | Supply and fixing of 12 Way SPN DB with IP 43 Protection as per IS:13032 and suitable for 4 Nos S.P out goings and for 1 No Incommer including Supply and Fixing of 1 No 40 A FP ELCB (100mA) and 4Nos 6-32 A 10kA SP MCBs with internal connections and all labour charges etc., complete for Flush Mounting SPN DB Makes: Legrand / Schneider Isolator Makes: Legrand / Schneider MCB Makes: Legrand / Schneider (Data no. ) |  | 1 | 1.00 |  | Nos |  |
| 10 | Supply and fixing of Bulk head fitting with cast alluminium enamel panted body with water tight, clear glass with wire guard hinged with lock and key arrangements etc., complete with lamp.(Data No. )12-13-34 / 32.1.20 |  | 2 | 1.00 |  | Nos |  |
|  | Makes: Bajaj / Crompton / Surya. |  |  |  |  |  |  |
| 11 | Providing independent earthing by exacavating a pit to a depth of 2.25Mtr in all soils as per size specified in the data for Important equipment with 2.5Mtr length 40mm dia 'B' class G.I pipe and 18" dia 3" thick hume pipe ring with R.C.C. Slab cover duly providing staggered holes filling with 20Kg Salt and 40Kg Charcoal or 40Kg bentonite powder from the bottom of the pipe giving earth connection from electrode through G.I strip of 25 x 6mm x 200mm length to be bolted with nut bolts including supply and termination of No.8 G.I.wire from bottm of the pipe with all accessories and labour charges complete, as per IS specifications 732/1982 (Part II)(Data No. )12-13-36.1.2 |  | 2 | 1.00 |  | Nos |  |
|  |  | TOTAL |  |  |  |  |  |

(Signature of Tenderer)

with seal

NALSAR University of Law Justice City Shameerpet Hyderabad